{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":127,"n_cols":15,"rows_kept":127,"merged":[[2,0,2,2],[3,2,3,4],[4,2,4,4],[5,2,5,4],[6,2,6,4],[8,0,8,1],[8,3,8,8],[8,10,8,14],[9,3,9,4],[9,5,9,7],[9,10,9,11],[9,12,9,14]]}
["Logger Calibration Sheet",{"$nulls":6},"Instructions"]
[{"$nulls":7},"- only change cell in blue ink (Reference in ft and Measurements in ft)"]
["Settings",{"$nulls":6},"- Switch logger on with correct QNH, let them stabilize for 10-15min"]
["Date",null,"March 20, 2013",{"$nulls":4},"- If reference is unknown, leave empty (median will be used)"]
["QNH",null,1021,null,null,"hPa",null,"- Copy the Correction Data ot the instrerr.cfg"]
["Reference Altitude",null,100,null,null,"ft",null,"- Verification can be used to verify after applying the instrerr.cfg"]
[null,null,{"$f":"IF(C6<>\"\",C6*0.3048,\"\")","v":{"v":30.48,"d":"30.5"}},null,null,"m ",null,"- Detailed instructions: http://www.balloonloggers.org/?p=417"]
[]
["Logger Information",null,null,"Calibration",{"$nulls":6},"Verification"]
["Logger No","Logger S/N",null,"Measurement",null,"Deviation",null,null,"Correction",null,"Measurement",null,"Deviation"]
[{"$nulls":3},"ft","m","ft","m","cm",null,null,"ft","m","ft","m","cm"]
[1,"5AC",null,102,{"$f":"IF(D12<>0,D12*0.3048,\"\")","v":{"v":31.0896,"d":"31.09"}},{"$f":"IF(D12<>\"\",G12/0.3048,\"\")","v":{"v":-2.000000000000001,"d":"-2"}},{"$f":"IF(D12<>\"\",IF($C$7<>\"\",$C$7-E12,$E$123-E12),\"\")","v":{"v":-0.6096000000000004,"d":"-0.61"}},{"$f":"IF(D12<>\"\",ROUND(G12*10,0),\"\")","v":-6},{"$f":"IF(D12<>0,CONCATENATE(B12,\"=\",H12),\"\")","v":"5AC=-6"},null,99,{"$f":"IF(K12>0,K12*0.3048,\"\")","v":{"v":30.1752,"d":"30.18"}},{"$f":"IF(K12<>\"\",N12/0.3048,\"\")","v":{"v":1.0000000000000004,"d":"1"}},{"$f":"IF(K12<>\"\",IF($C$7<>\"\",$C$7-L12,$E$123-L12),\"\")","v":{"v":0.3048000000000002,"d":"0.30"}},{"$f":"IF(K12<>\"\",ROUND(N12*10,0),\"\")","v":3}]
[2,"5AD",null,90,{"$f":"IF(D13<>0,D13*0.3048,\"\")","v":{"v":27.432000000000002,"d":"27.43"}},{"$f":"IF(D13<>\"\",G13/0.3048,\"\")","v":{"v":9.999999999999995,"d":"10"}},{"$f":"IF(D13<>\"\",IF($C$7<>\"\",$C$7-E13,$E$123-E13),\"\")","v":{"v":3.0479999999999983,"d":"3.05"}},{"$f":"IF(D13<>\"\",ROUND(G13*10,0),\"\")","v":30},{"$f":"IF(D13<>0,CONCATENATE(B13,\"=\",H13),\"\")","v":"5AD=30"},null,100,{"$f":"IF(K13>0,K13*0.3048,\"\")","v":30.48},{"$f":"IF(K13<>\"\",N13/0.3048,\"\")","v":0},{"$f":"IF(K13<>\"\",IF($C$7<>\"\",$C$7-L13,$E$123-L13),\"\")","v":{"v":0,"d":"0.00"}},{"$f":"IF(K13<>\"\",ROUND(N13*10,0),\"\")","v":0}]
[3,"5AE",null,null,{"$f":"IF(D14<>0,D14*0.3048,\"\")","v":""},"","","",{"$f":"IF(D14<>0,CONCATENATE(B14,\"=\",H14),\"\")","v":""},null,null,"","","",""]
[4,"5AF",null,null,"","","","","",null,null,"","","",""]
[5,"5AG",null,null,"","","","","",null,null,"","","",""]
[6,"5AH",null,null,"","","","","",null,null,"","","",""]
[7,"5AI",null,null,"","","","","",null,null,"","","",""]
[8,"5AJ",null,null,"","","","","",null,null,"","","",""]
[9,"5AK",null,null,"","","","","",null,null,"","","",""]
[10,"5AL",null,null,"","","","","",null,null,"","","",""]
[11,"5AM",null,null,"","","","","",null,null,"","","",""]
[12,"5AN",null,null,"","","","","",null,null,"","","",""]
[13,"5AP",null,null,"","","","","",null,null,"","","",""]
[14,"5AQ",null,null,"","","","","",null,null,"","","",""]
[15,"5AR",null,null,"","","","","",null,null,"","","",""]
[16,"5AS",null,null,"","","","","",null,null,"","","",""]
[17,"5AT",null,null,"","","","","",null,null,"","","",""]
[18,"5AU",null,null,"","","","","",null,null,"","","",""]
[19,"5AV",null,null,"","","","","",null,null,"","","",""]
[20,"5AW",null,null,"","","","","",null,null,"","","",""]
[21,"5AX",null,null,"","","","","",null,null,"","","",""]
[22,"5AY",null,null,"","","","","",null,null,"","","",""]
[23,"5AZ",null,null,"","","","","",null,null,"","","",""]
[24,"5B0",null,null,"","","","","",null,null,"","","",""]
[25,"5B1",null,null,"","","","","",null,null,"","","",""]
[26,"5B2",null,null,"","","","","",null,null,"","","",""]
[27,"5B3",null,null,"","","","","",null,null,"","","",""]
[28,"5B4",null,null,"","","","","",null,null,"","","",""]
[29,"5B5",null,null,"","","","","",null,null,"","","",""]
[30,"5B6",null,null,"","","","","",null,null,"","","",""]
[31,"5B7",null,null,"","","","","",null,null,"","","",""]
[32,"5B8",null,null,"","","","","",null,null,"","","",""]
[33,"5B9",null,null,"","","","","",null,null,"","","",""]
[34,"5BA",null,null,"","","","","",null,null,"","","",""]
[35,"5BB",null,null,"","","","","",null,null,"","","",""]
[36,"5BC",null,null,"","","","","",null,null,"","","",""]
[37,"5BD",null,null,"","","","","",null,null,"","","",""]
[38,"5BE",null,null,"","","","","",null,null,"","","",""]
[39,"5BF",null,null,"","","","","",null,null,"","","",""]
[40,"5BG",null,null,"","","","","",null,null,"","","",""]
[41,"5EZ",null,null,"","","","","",null,null,"","","",""]
[42,"5F0",null,null,"","","","","",null,null,"","","",""]
[43,"5Y4",null,null,"","","","","",null,null,"","","",""]
[44,"5F3",null,null,"","","","","",null,null,"","","",""]
[45,"5F4",null,null,"","","","","",null,null,"","","",""]
[46,"5IE",null,null,"","","","","",null,null,"","","",""]
[47,"5IF",null,null,"","","","","",null,null,"","","",""]
[48,"5IG",null,null,"","","","","",null,null,"","","",""]
[49,"5IH",null,null,"","","","","",null,null,"","","",""]
[50,"5IJ",null,null,"","","","","",null,null,"","","",""]
[51,"5IK",null,null,"","","","","",null,null,"","","",""]
[52,"5IL",null,null,"","","","","",null,null,"","","",""]
[53,"5NE",null,null,"","","","","",null,null,"","","",""]
[54,"5NF",null,null,"","","","","",null,null,"","","",""]
[55,"5NG",null,null,"","","","","",null,null,"","","",""]
[56,"5NH",null,null,"","","","","",null,null,"","","",""]
[57,"5NI",null,null,"","","","","",null,null,"","","",""]
[58,"5NJ",null,null,"","","","","",null,null,"","","",""]
[59,"5NK",null,null,"","","","","",null,null,"","","",""]
[60,"5NL",null,null,"","","","","",null,null,"","","",""]
[61,"5NM",null,null,"","","","","",null,null,"","","",""]
[62,"5NN",null,null,"","","","","",null,null,"","","",""]
[63,"5NP",null,null,"","","","","",null,null,"","","",""]
[64,"5NQ",null,null,"","","","","",null,null,"","","",""]
[65,"5NR",null,null,"","","","","",null,null,"","","",""]
[66,"5NS",null,null,"",{"$f":"IF(D77<>\"\",G77/0.3048,\"\")","v":""},{"$f":"IF(D77<>\"\",IF($C$7<>\"\",$C$7-E77,$E$123-E77),\"\")","v":""},{"$f":"IF(D77<>\"\",ROUND(G77*10,0),\"\")","v":""},"",null,null,{"$f":"IF(K77>0,K77*0.3048,\"\")","v":""},{"$f":"IF(K77<>\"\",N77/0.3048,\"\")","v":""},{"$f":"IF(K77<>\"\",IF($C$7<>\"\",$C$7-L77,$E$123-L77),\"\")","v":""},{"$f":"IF(K77<>\"\",ROUND(N77*10,0),\"\")","v":""}]
[67,"5NT",null,null,{"$f":"IF(D78<>0,D78*0.3048,\"\")","v":""},"","","",{"$f":"IF(D78<>0,CONCATENATE(B78,\"=\",H78),\"\")","v":""},null,null,"","","",""]
[68,"5NU",null,null,"","","","","",null,null,"","","",""]
[69,"5NV",null,null,"","","","","",null,null,"","","",""]
[70,"5NW",null,null,"","","","","",null,null,"","","",""]
[71,"5NX",null,null,"","","","","",null,null,"","","",""]
[72,"5NY",null,null,"","","","","",null,null,"","","",""]
[73,"5NZ",null,null,"","","","","",null,null,"","","",""]
[74,"5P0",null,null,"","","","","",null,null,"","","",""]
[75,"5P1",null,null,"","","","","",null,null,"","","",""]
[76,"5P2",null,null,"","","","","",null,null,"","","",""]
[77,"5P3",null,null,"","","","","",null,null,"","","",""]
[78,"5P4",null,null,"","","","","",null,null,"","","",""]
[79,"5P5",null,null,"","","","","",null,null,"","","",""]
[80,"5P6",null,null,"","","","","",null,null,"","","",""]
[81,"5P7",null,null,"","","","","",null,null,"","","",""]
[82,"5P8",null,null,"","","","","",null,null,"","","",""]
[83,"5PC",null,null,"","","","","",null,null,"","","",""]
[84,"5PD",null,null,"","","","","",null,null,"","","",""]
[85,"5PF",null,null,"","","","","",null,null,"","","",""]
[86,"5PG",null,null,"","","","","",null,null,"","","",""]
[87,"5PJ",null,null,"","","","","",null,null,"","","",""]
[88,"5PK",null,null,"","","","","",null,null,"","","",""]
[89,"5PM",null,null,"","","","","",null,null,"","","",""]
[90,"5PN"]
[91,"5WE"]
[92,"5WF"]
[93,"5WG"]
[94,"5WH"]
[95,"5WI"]
[96,"5WJ"]
[97,"5WK"]
[98,"5WL"]
[99,"5WM"]
[100,"5WN"]
[101,"5WP"]
[102,"5WQ"]
[103,"5WR"]
[104,"5WS"]
[105,"5WT"]
[106,"5WU"]
[107,"5WV"]
[108,"5WX"]
[109,"5XS"]
[110,"5XT"]
[]
["Statistics","Median",null,{"$f":"MEDIAN(D12:D121)","v":96},{"$f":"MEDIAN(E12:E121)","v":{"v":29.260800000000003,"d":"29.26"}},{"$nulls":5},{"$f":"MEDIAN(K12:K121)","v":{"v":99.5,"d":"100"}},{"$f":"MEDIAN(L12:L121)","v":{"v":30.3276,"d":"30.33"}}]
[null,"Min",null,{"$f":"MIN(D12:D121)","v":90},{"$f":"D124*0.3048","v":{"v":27.432000000000002,"d":"27.43"}},{"$nulls":5},{"$f":"MIN(K12:K121)","v":99},{"$f":"K124*0.3048","v":{"v":30.1752,"d":"30.18"}}]
[null,"Max",null,{"$f":"MAX(D12:D121)","v":102},{"$f":"D125*0.3048","v":{"v":31.0896,"d":"31.09"}},{"$nulls":5},{"$f":"MAX(K12:K121)","v":100},{"$f":"K125*0.3048","v":30.48}]
[null,"Std Deviation",null,{"$f":"STDEV(D12:D121)","v":{"v":8.48528137423857,"d":"8"}},{"$f":"D126*0.3048","v":{"v":2.586313762867916,"d":"2.59"}},{"$nulls":5},{"$f":"STDEV(K12:K121)","v":{"v":0.7071067811865476,"d":"1"}},{"$f":"K126*0.3048","v":{"v":0.21552614690565972,"d":"0.22"}}]
[null,"Spread Min/Max",null,{"$f":"D125-D124","v":12},{"$f":"D127*0.3048","v":{"v":3.6576000000000004,"d":"3.66"}},{"$nulls":5},{"$f":"K125-K124","v":1},{"$f":"K127*0.3048","v":{"v":0.3048,"d":"0.30"}}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}